| Oxnard Fire Certified Unified Program Agency Carbon Dioxide Inspection Checklist | Date: ____________________ Facility Name: __________________________________________________ Address: ______________________________________ |
| --- | --- |

HAZARDOUS MATERIALS STORAGE PROGRAM

Authority Cited: 	Any business that handles bulk liquefied (refrigerated or very cold) Carbon Dioxide in excess of threshold amounts is subject to the requirements of California Health and Safety Code (H&SC), Chapter 6.95, Article 1, Section 25503.5, and California Fire Code (CFC), Article 74 & 80.

Oxnard Fire Certified Unified Program Agency (Administrating Agency) under the authority of the statute has adopted a threshold-reporting amount at or above 200 pounds (Bulk Storage Systems) and will issue a Hazardous Materials Permit and fee for a Range I category. Business Plan Chemical Description Page (2731), will indicate the material as a gas, and be reported in pounds. 200 pounds is equivalent to 24 gallons, or 1700 cubic feet of gas at 70° F (8.5 cubic feet per pound of gas).

| Y | N | NA | Regulatory authority | Carbon Dioxide Storage and Handling Permits HMBP |
| --- | --- | --- | --- | --- |
|  |  |  | H&SC 25503.5 | Hazardous Materials Storage Permit - Any facility that stores or uses hazardous materials must apply for and obtain a hazardous materials storage permit from Oxnard Fire Depart. |
|  |  |  | H&SC 25504 (c) | Employee Training annual training, including refresher courses, for all employees in safety procedures in the event of a release or threatened release of hazardous material, including, but not limited to, familiarity with facility emergency response plans and procedures; |
|  |  |  | H&SC 25504 (b) | Emergency Response Plans and procedures in the event of a reportable release or threatened release of a hazardous material, including, but not limited to, notification of local emergency response agencies, Oxnard Fire, and the state Office of Emergency Services; procedures for the mitigation of a release or threatened release to minimize any potential harm or damage to persons, property, or the environment; and evacuation plans and procedures, including immediate notice, for the facility; |
|  |  |  | CFC 7401.5.2 | Tank or cylinder marked identifying the contents and capacity. |
|  |  |  | CFC 7403.1.6 | Venting of gases directed to an approved area outside the building |
|  |  |  | CFC 7401.6.4. | Securing Compressed Gas Containers to prevent falling due to contact or seismic. |
|  |  |  | CFC 8001.4.3.2 (3) | Tank valves identified for emergency shut-off. |
|  |  |  | CFC 1203 | Tank storage area unobstructed and does not interfere with means of egress. |
|  |  |  | CFC 8001.7 | Visible Identification Signs placed at specific entrances to location where carbon dioxide tanks or cylinders are stored. Signs to read “Compressed Gas, Carbon Dioxide.” Signs shall not be obscured or removed. Color red with lettering no less than 3” in height. |
|  |  |  | CFC 7401.6.4. | Basement storage room equipped with oxygen monitoring capable of audible and visual alarms. Monitoring equipment used to monitor |
|  |  |  | CFC 8001.6 | MSDS shall be readily available on the premises for hazardous materials. |
|  |  |  | CFC 8001.4.3.3. (4) | Readily accessible Manual or automatic remotely activated fail-safe emergency shut off valve shall be installed on tank, cylinder, or bulk source. |

OXNARD CITY FIRE										        Rev. 08/8/07