# Emergency Response/Contingency Plan

# Hazardous Materials Training Plan

At least one copy of the plan shall be maintained at the facility for use in the event of an emergency and for inspection by the local agency.

# Facility Information:

# Business Name:		     	_	BusinessPhone:

Site Address:		     		City:		     		Zip:

# Emergency Coordinators:

List personnel qualified to act as the facility’s Emergency Coordinator.  (Note:  Emergency Coordinator responsibilities are described in Section F, below.)

| Primary Emergency Coordinator | Secondary Emergency Coordinator |
| --- | --- |
| Name: Title: Business Phone: 24 Hour Phone: Pager No.: | Name: Title: Business Phone: 24 Hour Phone: Pager No.: |

(Check box only if applicable) Additional Emergency Coordinators are listed on page       of this plan.

# Evacuation Plan:

1.  The following alarm signal(s) will be used to begin evacuation of the facility (check all which apply):

Bells     Horns/Sirens    Verbal (i.e. shouting)    Other (specify)

- Evacuation map is prominently displayed throughout the facility.

# Emergency and Mandatory Release Reporting Contacts:

Fire/Police/Ambulance 	 . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 	Phone No. 911

State Office of Emergency Services	. . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 	Phone No. (800) 852-7550

Oxnard Fire/CUPA Department	(Business Hours)	Phone No. (805) 385-7722

(After Hours)	Phone No. 911

Emergency Resource

Nearest Hospital:

Name:      	 Phone No.:

Address:     	 City:

# Arrangements With Emergency Responders:

List arrangements made with any police department, fire department, hospital, contractor, or State or local emergency response team to coordinate emergency services.

# Emergency Procedures:

# Emergency Coordinator Responsibilities:

# 1.	Whenever there is an imminent or actual emergency situation such as a explosion, fire, or release, the emergency coordinator (or his/her designee when the emergency coordinator is on call) shall:

a.	Identify the character, exact source, amount, and areal extent of any released hazardous materials.

b.	Assess possible hazards to human health or the environment that may result from the explosion, fire, or chemical release.  This assessment must consider both direct and indirect effects specific to the properties of the released hazardous material.

c.	Activate internal facility alarms or communications systems, where applicable, to notify all facility personnel.

d.	Notify appropriate local authorities (i.e. call 911).

e.	Notify the State Office of Emergency Services at 1-800-852-7550.

f.	Monitor for leaks, pressure build-up, gas generation, or ruptures in valves, pipes, or other equipment shut down in response to the incident.

g.	Take all reasonable measures necessary to ensure that fires, explosions, and releases do not occur, recur, or spread to other hazardous materials at the facility.

- Identification of areas of the facility and mechanical or other systems that require immediate inspection or isolation because of their vulnerability to earthquake and related ground motion.

# 2.	Before facility operations are resumed in areas of the facility affected by the incident, the emergency coordinator shall:

a.	Provide for proper storage and disposal of recovered waste, contaminated soil or surface water, or any other material that results from an explosion, fire, or release at the facility.

b.	Ensure that no material that is incompatible with the released material is transferred, stored, or disposed of in areas of the facility affected by the incident until cleanup procedures are completed.

c.	Ensure that all emergency equipment is cleaned, fit for its intended use, and available for use.

# Responsibilities of Other Personnel:

List any emergency response functions not covered in the “Emergency Coordinator Responsibilities” section.  Next to each function, list the job title or name of each person responsible for performing the function.

Function	Name/Job Title

Describe activities and response actions personnel will take in the event of a hazardous materials release, fire or explosion.

Emergency Equipment:

# EMERGENCY EQUIPMENT INVENTORY TABLE

| Equipment | Equipment |  |
| --- | --- | --- |
| Category | Type | Location and Capabilities * |
| Personal | Air Purifying Respirators |  |
| Protective, | Chemical Monitoring Equipment (describe) |  |
| Equipment, | Chemical Protective Aprons/Coats |  |
| Safety | Chemical Protective Boots |  |
| Equipment, | Chemical Protective Gloves |  |
| and | Chemical Protective Suits (describe) |  |
| First Aid | Face Shields |  |
| Equipment | First Aid Kits/Stations (describe) |  |
|  | Hard Hats |  |
|  | Plumbed Eye Wash Stations |  |
|  | Portable Eye Wash Kits (i.e. bottle type) |  |
|  | Respirator Cartridges (describe) |  |
|  | Safety Glasses/Splash Goggles |  |
|  | Safety Showers |  |
|  | Self-Contained Breathing Apparatuses (SCBA) |  |
|  | Other (describe) |  |
| Fire | Automatic Fire Sprinkler Systems |  |
| Extinguishing | Fire Alarm Boxes/Stations |  |
| Systems | Fire Extinguisher Systems (describe) |  |
|  | Other(describe) |  |
| Spill | Absorbents (describe) |  |
| Control | Berms/Dikes (describe) |  |
| Equipment | Decontamination Equipment (describe) |  |
| and | Emergency Tanks (describe) |  |
| Decontamination | Exhaust Hoods |  |
| Equipment | Gas Cylinder Leak Repair Kits (describe) |  |
|  | Neutralizers (describe) |  |
|  | Overpack Drums |  |
|  | Sumps (describe) |  |
|  | Other (describe) |  |
| Communications | Chemical Alarms (describe) |  |
| and | Intercoms/ P.A. Systems |  |
| Alarm | Portable Radios |  |
| Systems | Telephones |  |
|  | Underground Tank Leak Detection Monitors |  |
|  | Other (describe) |  |
| Additional |  |  |
| Equipment |  |  |
| (Use Additional |  |  |
| Pages if Needed.) |  |  |

*	Describe equipment location and its capabilities.

Training:

Check all boxes which apply.

# 1.	Personnel are trained in the following procedures:

Internal alarm/notification

Evacuation/re-entry procedures & assembly point locations

Emergency incident reporting

External emergency response organization notification

Location(s) and contents of Emergency Response/Contingency Plan

# 2.	Chemical Handlers are annually trained in the following:

Safe methods for handling and storage of hazardous materials

Location(s) and proper use of fire and spill control equipment

Spill procedures/emergency procedures

Proper use of personal protective equipment

Specific hazard(s) of each chemical to which they may be exposed, including routes of exposure (i.e. inhalation, ingestion, absorption)

Hazardous Waste Handlers/Managers are trained in all aspects of hazardous waste management specific to their job duties (e.g. container accumulation time requirements, labeling requirements, storage area inspection requirements, manifesting requirements, etc.)

# 3.  Emergency Response Team Members are capable of and engaged in the following:

Personnel rescue procedures

Shutdown of operations

Liaison with responding agencies

Use, maintenance, and replacement of emergency response equipment

Refresher training, which is provided at least annually

Emergency response drills, which are conducted at least (specify) (e.g. “Quarterly”, etc.)

# Amendment of Contingency Plan:

This plan must be reviewed, and immediately amended, if necessary, whenever:

a.	Applicable regulations are revised

b.	The plan fails in an emergency

c.	The facility changes its design, construction, operation, maintenance, or other circumstances in a way that materially increases the potential for fires, explosions, or releases of hazardous waste or hazardous waste constituents, or changes the response necessary in an emergency.

d.	The list of emergency coordinators changes.

e.	The list of emergency equipment changes

Emergency Coordinator Signature	Date