OXNARD FIRE/CUPA

360 W. Second St., Oxnard, CA 93030

TELEPHONE: (805) 385-7722      FAX: (805) 385-8009

PERMIT FOR MODIFICATION OR REPAIR OF UNDERGROUND HAZARDOUS MATERIAL STORAGE TANK (UST)

| APPLICANT - INSTRUCTIONS & INFORMATION TO COMPLETE Check the box(es) that apply to the modification or repair to be performed:  Modification  Repair  Corrosion Protection  Piping  Dispenser  Spill Containment  Overfill Protection  Line Leak Detector If other, briefly describe: Attach with this application a detailed description of the proposed tank system modifications or repairs (see back of application for conditions). Attach a Plot Plan showing: Location of all tanks, piping, and secondary containment, and leak detection system(s) North arrow Property lines Nearest intersection or road Sensitive Areas (schools, hospitals, nursing homes, etc.) Attach: State Underground Tank Forms; Facility and Tank Page I must reflect the proposed modifications or repairs. Provide a copy of the State Contractor’s License. Estimated start date: Applicant Signature Date | FOR OFFICE USE ONLY Received by Date Fee Amount Received $ Receipt # Check # PERMIT # FACILITY #  Approved  Not Approved Permit Issued By Date Issued Expiration Date Date Completed INSPECTOR |
| --- | --- |

APPLICANT TO COMPLETE

| TANK LOCATION (Number, Street, City) | DBA |
| --- | --- |
| TANK OWNER | CONTACT NAME | TELEPHONE |
| MAILING ADDRESS (Number, Street, City, Zip) |
| OPERATOR | CONTACT NAME | TELEPHONE |
| MAILING ADDRESS (Number, Street, City, Zip) |
| CONTRACTOR | CONTACT NAME | TELEPHONE |
| CONTRACTOR LICENSE # | CLASSIFICATIONS | EXPIRATION DATE |
| MAILING ADDRESS (Number, Street, City, Zip) |
| WORKMEN’S COMPENSATION INSURANCE COMPANY | TELEPHONE |
| CONDITIONS OF APPROVAL OF DENIAL |

247A30.1B

STANDARD CONDITIONS OF APPROVAL FOR MODIFICATION OR REPAIR OF THE UNDERGROUND HAZARDOUS MATERIALS STORAGE TANK

- All modification and repairs must be completed in accordance with approved permit and conditions of approval.

- All modifications and repairs must conform with Federal, State and local laws, regulations, requirements, and CUPA policies.

- All suspected or confirmed unauthorized releases must be verbally reported to the Oxnard Fire CUPA Program within twenty-four (24) hours of discovery, and a written report must be submitted to the CUPA within five (5) working days.  (California Health and Safety Code, Chapter 6.7, Section 25295)

- All modifications or repairs will require an inspection.   Modifications and repairs involving piping replacement, tank lining, tank bladder, cathodic protection, and electronic leak detection replacement, may require more than one inspection.  See the section on Conditions of Approval on the opposite side or an attached Letter of Conditions for required inspections.

- INSPECTIONS ARE SCHEDULED ON A FIRST-COME-FIRST-SERVED BASIS (CALLING AT LEAST 72 HOURS IN ADVANCE IS STRONGLY RECOMMENDED).  Oxnard Fire CUPA will only schedule inspections if you have an approved UST Modification/Repair Permit.

- MISSED APPOINTMENTS OR FAILED INSPECTIONS WILL RESULT IN AN ADDITIONAL REINSPECTION FEE WHICH MUST BE PAID BEFORE THE NEXT INSPECTION CAN BE SCHEDULED.

- Emergency repairs (examples: piping repair, change of leak detection system due to an antiquated system or discontinued repair parts) can be implemented without first obtaining a permit.  However, a UST Modification or Repair Permit must be applied for by the next working day.  Also, performing emergency repairs does not waive the inspection requirement and may result in additional inspections and reporting.

- Installing tank liners and bladders and removing and/or replacing piping will require analyses of soil and/or groundwater samples to determine whether contamination from the underground tank system is present.  Provide a detailed sampling plan with the permit application.  SOIL SAMPLES ARE NOT TO BE COLLECTED IN GLASS JARS.  If contamination is discovered during the investigation, the Modification or Repair Permit will be suspended until Oxnard Fire CUPA determines that continuing work will not interfere or inhibit mitigation of the contamination.

- If any portion of the tank and/or piping is removed, replaced, or loosened, tank and/or piping integrity tests must be performed, and a hard copy of the results must be submitted to Oxnard Fire CUPA before the UST system is allowed to operate.

- The electronic leak detection system must be “certified” after any modification and/or repair is made on an electronic leak detection system.

- A copy of this permit and plans shall be kept available at the facility during installation for inspection by public agencies.

FAILURE TO OBTAIN THE REQUIRED UST MODIFICATION REPAIR PERMIT CAN RESULT IN SUSPENSION OR REVOCATION OF THE UST PERMIT TO OPERATE AND FURTHER LEGAL ENFORCEMENT.  THE TANK OPERATOR AND/OR TANK OWNER IS RESPONSIBLE FOR OBTAINING THE NECESSARY PERMIT(S).

247A30.1B